## Slide 1: INTERNSHIP (12th June 2024 – 12th July 2024)
OM DUTT MISHRA

## Slide 2: INDIAN OIL CORP. LTD ALLD
INTERNSHIP SITE
CARE , INOVATION , PASSION , TRUST

## Slide 3: Indian Oil Corporation Allahabad Terminal
Allahabad terminal Laboratory is one of the establishments of the prestigious public sector enterprise Indian Oil. Indian oil is one of the primary fuel providers of the country and has undertaken the responsibility of all activities related to that

## Slide 4: MISSION OF THE COMPANY
"... to help enrich the quality of life of the community and preserve ecological balance and heritage through a strong environment conscience..."

## Slide 5: IOCL ALLD. TERMINAL SITES
PMCC
FIRE PUMP HOUSE
TLF SHEAD
CONTROL CENTER
VRU
CALIBRATION TOWER

## Slide 6: TERMINAL SITES:-
PMCC :
  Responsible for the continuous power supply of the terminal .
  Main source : power corp. ltd. (11kilojoule).
  Secondary source : 2 diesel powered generators(480 hp).
FIRE PUMP HOUSE:
  Maintains essential water supply for cases of emergency and exercise requirements.
  Capacity (4091.177 kilo litres).
  Warning systems like : LLOP / HWT / OS / PT

## Slide 7: TERMINAL SITES:-
TLF SHEAD :
  Filling of fuel takes place in this area .
  Color coding is used to identify fuel type.
  Safety measures taken as :
                Proximity card reader
                Earthing
                Sand supply
                Automatic filling machines
VRU :
  Vapor recovery unit to save fuel from leaking and polluting the environment.
  Daily recover : 20 – 50 liters of fuel.

## Slide 8: TERMINAL SITES:-
CALIBRATION TOWER :
  A dedicated area to calibrate and inspect the safety and security of truck .
  Inspected points like : dip rod , y-section , tank capacity , fire extinguisher ,master valve , share-off valve , datum plate etc …
CONTROL CENTER :
  Monitoring on all the previous sites and management takes place in control centre along with authorization and permissions to various procedures.
  Works on modern software's like : SAP AND TAS

## Slide 9: INTERNSHIP OBJECTIVES

## Slide 10: INTERNSHIP OBJECTIVES
To enhance personal skills
To understand organizational structures
Experience of working under supervisors
Marketing and managements skills
To understand working culture of an organization

## Slide 11: INTERNSHIP EXPERIENCE AND ACTIVITIES

## Slide 12: INTERNSHIP ACTIVITIES AND EXPERIENCE
Gained hands on experience with industry standard tools and software ( TAS , SAP etc).
Worked with IT staff.
Handling paper work.
Experiencing with working stall at different facilities like TLF , PMCC , WATER PUMP HOUSE , CALIBRATION TOWER.
Working experience on site related and safety work such as CALABRATION inspection.
Developing communication skills.

## Slide 13: PROBLEMS IDENTIFIED
Old softwares in use
Over utilization of resource
Old filling stations at TLF

## Slide 14: SOLUTIONS OFFERED
Access to latest softwares.
Upgradation of filling stations at TLF due to safety concerns.

## Slide 15: INTERNSHIP ACHIEVEMENTS
Personal skill development
Team work
Time management
Communication skills
Networking development
Theory in practice
Career path

## Slide 16: CONCLUSION
Gained practical knowledge
Learnt various skills
Good impressions and experiences
Introduction to the actual work field

## Slide 17
THANK YOU